## Recap
R E C A P I T U L A T I O N
PROJECT NAME |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT
|  | Date issued : | 2024-05-13
|  | Revision : | 00 - | 2024-05-13
# | WORK DESCRIPTION |  |  | TOTAL (IDR)
I | PRELIMINARY
A | Preparation |  |  | 0
B | Demolish Work |  |  | 0
|  |  | T O T A L I | 0
II | INTERIOR
A | Floor Work |  |  | 0
B | Partition Work |  |  | 0
C | Wall Finish Work |  |  | 0
D | Door Work |  |  | 0
E | Ceiling Work |  |  | 0
|  |  | T O T A L II | 0
III | FURNITURE
A | Custom Furniture |  |  | 0
B | Product Furniture |  |  | 0
|  |  | T O T A L IV | 0
IV | SYSTEM FURNITURE
A | Workstation |  |  | 0
B | Task Chair |  |  | 0
|  |  | T O T A L V | 0
V | ACCESSORIES
A | Accessories |  |  | 0
|  |  | T O T A L VI | 0
VI | TOILET
A | Toilet |  |  | 0
|  |  | T O T A L VII | 0
|  |  | T O T A L I + II + III + IV + V + VI + VII | 0
|  |  | Total Area (in SQM) : | 2955.1
|  |  | Cost per SQM (in IDR) : | 0

## I.Prelim
Bill of Quantity - DESCRIPTION
PROJECT : |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | Date issued : | 2024-05-13
SCOPE of WORK |  | : PRELIMINARY | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  | Quantity |  | Unit Price (IDR) | TOTAL ( IDR )
( supply & install )
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension , material , finishing , volume , etc., must checked or according to detail drawing & specification schedule/table document.
I | P R E L I M I N A R Y :
A | Preparation
1 | Mobilization for Labour & Equipment tools. |  | 1 | ls |  | 0
2 | Building Permission, site Survey & site Marking. |  | 1 | ls |  | 0
3 | General Protection construction & protection for all finished work. |  | 1 | ls |  | 0
4 | Provide temporary Site Office Room for project coordination, including temporary furniture. |  | 1 | ls |  | 0
5 | Cleaning works & daily debris removal during construction period |  | 1 | ls |  | 0
until practical completion.
6 | Electrical & water for work. |  | 1 | ls |  | 0
7 | Provide Safety equipment for all work & provide Personal Protection Equipment (PPE), such as : |  | 1 | ls |  | 0
Helmet, safety shoes, portable Fire Extinguisher, First Aid, etc.
8 | Insurance - Contractor's All risk, Third Party Liability |  | 1 | ls |  | 0
9 | Provide Periodic Report (weekly & monthly), coordination meeting, shop drawing & as-built drawing, |  | 1 | ls |  | 0
Incl. : material/sample board,
|  |  |  | Sub Total I - A |  | 0
B | Demolish
1 | Demolish existing fitout and furniture |  | 1 | ls |  | 0
|  |  |  | Sub Total I - B |  | 0
|  |  |  | T O T A L I |  | 0

## II.Int
Bill of Quantity - DESCRIPTION
PROJECT : |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-05-13
SCOPE of WORK |  |  | : INTERIOR FIT OUT | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
II | I N T E R I O R :
A | Floor Works
1 | Marmer Slab - 1 |  |  | MR.1 | 259 | 0 | 19.48 | 0 | 0 | 278.48 | m² |  | 0
| - | Marmer Travertine Cream, Size Slab
| - | ex.
2 | Marmer Slab - 2 |  |  | MR.2 | 27 | 95.25 | 57 | 53 | 47.75 | 280 | m² |  | 0
| - | Marmer Granite Nero Black Absoluto, Size Slab
| - | ex.
3 | Marmer Slab - 3 |  |  | MR.3 | 16 | 31.25 | 46.64 | 42.5 | 43.25 | 179.64 | m² |  | 0
| - | Marmer Chiampo Blue, size Slab
| - | ex.
4 | Vinyl - 1 |  |  | VN.1 | 105 | 0 | 33.25 | 73.99 | 27.5 | 239.74 | m² |  | 0
| - | Vinyl Floor (White Terazzo), Size 457.2 x 914.4mm
| - | ex. Armstrong Flooring; TS111 Terrazzo Source
5 | Vinyl - 2 |  |  | VN.2 | 9 | 125.6 | 26.2 | 15.7 | 0 | 176.5 | m² |  | 0
| - | Vinyl Floor (Grey Terrazzo), Size 457.2 x 914.4mm
| - | ex. Armstrong Flooring; TS118 Terrazzo Charm
6 | Vinyl - 3 |  |  | VN.3 | 0 | 45.84 | 57 | 99.7 | 81.25 | 283.79 | m² |  | 0
| - | Vinyl Floor (Wood), size 152.4 x 914.4mm
| - | ex. Taco Perform 300; TV 3029 Summer Teak
7 | Vinyl - 4 |  |  | VN.4 | 0 | 45.84 | 12.56 | 5.4 | 10.5 | 74.3 | m² |  | 0
| - | Vinyl Floor (Wood), size 152.4 x 914.4mm
| - | ex. Taco Perform 300; TV 3029 Summer Teak
8 | Carpet Custom - 1 |  |  | CC.1 | 37.68 | 0 | 50 | 0 | 0 | 87.68 | m² |  | 0
| - | Carpet Custom (color), size custom
| - | ex.
9 | Carpet Custom - 2 |  |  | CC.2 | 17.42 | 0 | 41.66 | 7.85 | 0 | 66.93 | m² |  | 0
| - | Carpet Custom (colour), size custom
| - | ex.
10 | Carpet Custom - 3 |  |  | CC.3 | 0 | 0 | 0 | 0 | 7.06 | 7.06 | m² |  | 0
| - | Carpet Custom (colour), Size custom
| - | ex.
11 | Carpet Tile - 1 |  |  | CT.1 | 28 | 0 | 26.6 | 15 | 0 | 69.6 | m² |  | 0
| - | Carpet Tile (Light Brown), size 50 x 50 x 0.7 mm
| - | ex. Suminoe Ecos LX-2600; LX-2605
12 | Carpet Tile - 2 |  |  | CT.2 | 0 | 0 | 39.6 | 66 | 0 | 105.6 | m² |  | 0
| - | Carpet Tile (Light Brown), size 50 x 50 x 0.7 mm
| - | ex. Suminoe Ecos LX-2600; LX-2604
13 | Carpet Tile - 3 |  |  | CT.3 | 0 | 260 | 102.25 | 181 | 0 | 543.25 | m² |  | 0
| - | Carpet Tile (Blue), Size 25 x 100 mm
| - | ex. Floor Nine Radiant Collection; Radiant Ocean
14 | Carpet Tile - 4 |  |  | CT.4 | 0 | 120 | 0 | 0 | 128.75 | 248.75 | m² |  | 0
| - | Carpet Tile (Color), size 50 x 50 x 0.7 mm
| - | ex. Suminoe Ecos LX-2600; LX-2605
15 | Carpet Tile - 5 |  |  | CT.5 | 0 | 69.85 | 0 | 0 | 0 | 69.85 | m² |  | 0
| - | Carpet Tile (Color), size 50 x 50 x 0.7 mm
| - | ex. Suminoe Ecos LX-2600; LX-2604
16 | Homogenous Tile - 1 |  |  | HT.1 | 0 | 12 | 23 | 12.5 | 11.25 | 58.75 | m² |  | 0
| - | Homogeneous Tile (White Terrazzo), Size 60 x 120 cm
| - | ex. DP House; Magnum Terrazzo White
17 | Andesit Stone - 1 |  |  | AS.1 | 0 | 0 | 0 | 84 | 126 | 210 | m² |  | 0
| - | Andesit Stone (Grey), Size 30 x 60 cm
| - | ex.
18 | Solid Wood - 1 |  |  | SW.1 | 0 | 0 | 18.84 | 18.8 | 0 | 37.64 | m² |  | 0
| - | Solid Wood, Size 30 x 120 cm
| - | ex.
19 | Up floor H=10 cm |  |  | - | 3.5 | 1 | 0 | 0 | 0 | 4.5 | unit |  | 0
| - | Structure concreted slab
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
20 | Up floor H=40 cm |  |  | - | 131.42 | 140 | 0 | 30 | 0 | 301.42 | unit |  | 0
| - | Structure plywood include edging/stepnosing (PVC.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
| - | Exclude vinyl finish (bare finish, finishing include to VN.1)
21 | Waterproofing |  |  | WF.1 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Waterproofing coating ex. Sika
| - | For outdoor area
22 | Floor List |  |  | L.1 | 0 | 0 | 0 | 0 | 0 | 0 | m |  | 0
| - | List stainless steel
23 | Floor List |  |  | L.2 | 0 | 0 | 0 | 0 | 0 | 0 | m |  | 0
| - | List stainless steel plate, width : 24 cm
24 | Raised Floor Server room |  |  | RF.1 | 105 | 0 | 0 | 0 | 0 | 105 | m² |  | 0
| - | ex. Eternity
| - | Merk : ZT FLOOR
| - | A Steel panel with cementicious in field
| - | Panel size : 600mm x 600mm x 35mm
| - | Finish : HPL SC 1000
| - | Understructure : Bolted Stringer
| - | Height : 300 mm FFH
[9 empty] | Sub Total - II A |  |  |  | 0
B | Wall Partition Work
1 | Partition - 1 |  |  | P.1 | 0 | 117 | 76.85 | 104 | 83.2 | 381.05 | m² |  | 0
| - | 9mm Gypsum, 2 side; H : Floor to slab
| - | Frame : Galvanized hollow 40 x 40 mm + Reinforcement to slab
| - | Include Glasswool insulation, density 60 kg/m3.
| - | Include shadow line U aluminium channel
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. 9mm plywood skirting in duco finish (colour match to partition), H: 150 mm
| - | incl. U Aluminium channel col. Match to partition finish above skirting
2 | Partition - 1A |  |  | P1A | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | 9mm Gypsum, 1 side; H : Floor to ceiling
| - | Frame : Galvanized hollow 40 x 40 mm + Reinforcement to slab
| - | Include shadow line U aluminium channel
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. 9mm plywood skirting in duco finish (colour match to partition), H: 150 mm
| - | incl. U Aluminium channel col. Match to partition finish above skirting
3 | Partition - 2 |  |  | P.2 | 0 | 0 | 0 | 74.88 | 80.08 | 154.96 | m² |  | 0
| - | 9mm Gypsum board, 2 sides, H : Floor to ceiling
| - | Frame : Galvanized hollow 40 x 40 mm + Reinforcement to slab
| - | Include shadow line U aluminium channel
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. 9mm plywood skirting in duco finish (colour match to partition), H: 150 mm
| - | incl. U Aluminium channel col. Match to partition finish above skirting
4 | Glass Partition - 3 |  |  | P.3 | 137.216 |  | 39.3 | 75.4 | 50.96 | 302.876 | m² |  | 0
| - | Frameless Glass Partition, clear glass tempered 10mm thick, H = floor to bulkhead
| - | Include : sealant, rubber seal & reinforcement structure to plat/slab
5 | Partition - 4 |  |  | P.4 | 131.75 | 90 | 412 | 0 | 0 | 633.75 | m² |  | 0
| - | Rotan Panel Custom, size : see detail drawing, 15mm 2 sides, H : floor to
| - | Custom Frame : Steel Plate Solid 150mm x 20 mm thickness + Finished : DUCO
| - | Include : sealant, rubber seal & reinforcement structure to plat/slab
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. U Aluminium channel col. Match to partition finish above skirting
6 | Partition - 4A |  |  | P.4A | 0 | 136.5 | 28.5 | 87 | 0 | 252 | m² |  | 0
| - | Rotan Panel Custom, size : see detail drawing, 15mm 1 side, H : floor to
| - | Custom Frame : Steel Plate Solid 150mm x 20 mm thickness + Finished : DUCO
| - | Include : sealant, rubber seal & reinforcement structure to plat/slab
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. U Aluminium channel col. Match to partition finish above skirting
7 | Partition - 5 |  |  | P.5 | 161.116 |  | 21 | 0 | 61.36 | 243.476 | m² |  | 0
| - | Bonze Panel / Bronze Mirror, 19x19cm, 6mm 1 sides, H : floor to concreted ceiling
| - | Custom Frame : Galvanized hollow 40 x 40 mm + Reinforcement to slab
| - | Include : sealant, rubber seal & reinforcement structure to plat/slab
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. U Aluminium channel col. Match to partition finish above skirting
8 | Partition - 6 |  |  | P.6 | 55.75 | 0 | 9 | 0 | 0 | 64.75 | m² |  | 0
| - | Bronze Panel Custom, size : see detail drawing, 1mm 1 sides, H : floor to
| - | Custom Frame : Steel Plate Solid 150mm x 20 mm thickness + Finished : DUCO
| - | Include : sealant, rubber seal & reinforcement structure to plat/slab
| - | Incl.: paper tape, compound, external angle metal galvanize/corner bead, etc.
| - | incl. U Aluminium channel col. Match to partition finish above skirting
9 | Partisi folding - Meeting Room |  |  | FP | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Panel partisi folding-movable manual; t = floor to ceiling, ex. Sandei
| - | STC 39 dB; induction
| - | Steel frame reinforcement, rail, ironmongeries and other accessories
| - | sound barrier Gysumboard 2 side 12mm (estimated H: 1500 mm) with rockwool
10 | Partition BU |  |  | BU | 0 | 0 | 0 | 0 | 0 | 0 | m |  | 0
| - | Partition in wiremesh finish size : 29 x 42 cm
11 | Partition PR.1 |  |  | PR.1 | 0 | 0 | 0 | 0 | 0 | 0 | m |  | 0
| - | Partition in wiremesh finish size : 100 mm
[9 empty] | Sub Total - II B |  |  |  | 0
C | Wall-Partition Treatment & Panelling
1 | Panel - 1 |  |  | PA.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size overall : 567 x 60 x 290 cm (Ç 830 cm)
| - | Panel back to back (2 side) include credenza size 200 x 60 x 90 cm
| - | Front side, panel 9mm MDF in WPC finish PU (H= 350 cm)
| - | Back side, finish wallpaper printing (H= 260 cm)
2 | Panel - 2 |  |  | PA.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 280 x 175 x 15 cm
| - | Panel backing MDF in Duco finish
| - | Frame MDF panel paded in fabric finish (FB.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
3 | Panel - 2A |  |  | PA.2A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 240 x 160 x 15 cm
| - | Panel backing MDF in Duco finish
| - | Frame MDF panel paded in fabric finish (FB.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
4 | Panel - 2B |  |  | PA.2B | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 200 x 160 x 15 cm
| - | Panel backing MDF in Duco finish
| - | Frame MDF panel paded in fabric finish (FB.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
5 | Panel - 3 |  |  | PA.3 & | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | H= 290-340 cm |  | PA.3A
| - | Panel MDF in WPC finish PU (WPC)
6 | Panel - 4 |  |  | PA.4 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size overall : 500 x 58 x 330 cm
| - | Panel MDF in WPC finish PU (WPC)
| - | Include credenza size : 351 x 58 x 90 cm
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
7 | Panel - 5 |  |  | PA.5 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 100 x 270 x 4 cm
| - | Flueted Glass Panel (FLG)
| - | Include frame metal in Duco finish (DC.4)
| - | Include reinforcement to floor and ceiling
8 | Panel - 6 |  |  | PA.6A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size Ø60 x 6 cm |  | PA.6B | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Panel MDF in Duco finish (DC.5 & DC.6)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
9 | Panel - 6 |  |  | PA.6C | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size Ø90 x 6 cm |  | PA.6D | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Panel MDF in Duco finish (DC.5 & DC.6)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
9 | Panel - 7 |  |  | PA.7 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size overall : 691 x 330 cm
| - | Panel artificial plant (vertical garden) (ARF.1)
| - | Include indonesian map, MDF cutting fin. Duco (DC.1)
10 | Panel - 8 |  |  | PA.8 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size 590,5 x 74 x 290 cm
| - | Backdrop panel MDF in WPC finis PU (WPC)
| - | Include box signage fin Duco cover Acrylic (DU.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
11 | Panel - 9 |  |  | PA.9 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size 519 x 85 x 290 cm
| - | Partition plywood in HPL finish (HPL.1)
| - | Ceiling plywood perforated in HPL finish
| - | Include bench in fabric finish (FB.1)
| - | Include LED decorative in HPL finish (HPL.5)
| - | LED strip ex. Ascendo include driver
12 | Panel - 10 |  |  | PA.10 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | H= 290 cm
| - | Partition plywood in HPL finish (HPL.1)
13 | Panel - 11 |  |  | PA.11 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | H= 177,5 x 120 x 290 cm
| - | Partition gypsum in EP.1 finish + MDF S-EP3
14 | Panel - 11A |  |  | PA.11A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | H= 120 x 60 x 290 cm
| - | Partition gypsum in EPC.3&5 finish + MDF S-EP3
15 | Panel - 12 |  |  | PA.12 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Finishing for folding partition
| - | Glassboard panel and HPL finish (HPL.3)
16 | Emulsion Paint - 1 |  |  | EP.1 | 118.9 | 267 | 291 | 320.5 | 428.5 | 1425.9 | m² |  | 0
| - | ex. Dulux 30GY 88/014 White on white
17 | Emulsion Paint - 2 |  |  | EP.2 | 316 | 248 | 463.5 | 357 | 131 | 1515.5 | m² |  | 0
| - | ex. Dulux 30BB 05/022 Black Mica
18 | Emulsion Paint - 3 |  |  | EP.3 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | ex. Dulux 49GG 52/001 Silky Stone
20 | Window Blind - 1 |  |  | RB | 0 | 0 | 0 | 0 | 0 | 0 | m² | by owner | 0
| - | incl.: other component & accessories
21 | Sandblast sticker |  |  | SB.1 | 0 | 0 | 0 | 0 | 0 | 0 | m² | by owner | 0
| - | H= 160 cm, Gradation effect
22 | Hebel Wall |  |  | W1 | 0 | 0 | 0 | 66.6 | 152.44 | 219.04 | m² |  | 0
| - | Hebel Wall + Plaster + Aci
Painted with ex. Dulux 49GG 52/001 Silky Stone
H: Floor to concrete
[9 empty] | Sub Total - II C |  |  |  | 0
D | Door Work
1 | Single glass Door |  |  | D.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 95 x 290 cm, single action
| - | 10mm clear tempered glass
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
2 | Single glass Door |  |  | D.2 | 2 | 3 | 9 | 6 | 10 | 30 | unit |  | 0
| - | Size : 95 x 290 cm, double action
| - | 10mm clear tempered glass
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
3 | Double glass Door |  |  | D.3 | 1 | 2 | 2 | 0 | 0 | 5 | unit |  | 0
| - | Size : 160 x .. cm, double action
| - | 10mm clear tempered glass
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
4 | Single Solid Door |  |  | DG.1 | 2 | 1 | 1 | 1 | 1 | 6 | unit |  | 0
| - | Size : see existing .. x .. cm, single action
| - | Door leaf plywood in HPL finish + PVC edging
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
5 | Single Solid Door |  |  | DG.2 | 1 | 1 | 1 | 1 | 1 | 5 | unit |  | 0
| - | Size : see existing .. x .. cm, single action
| - | Door leaf plywood in HPL finish + PVC edging
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
6 | Single Solid Door |  |  | DG.3 | 2 | 1 | 1 | 0 | 0 | 4 | unit |  | 0
| - | Size : see existing .. x .. cm, single action
| - | Door leaf plywood in HPL finish + PVC edging
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
7 | Single Solid Door |  |  | DG.4 | 1 | 2 | 2 | 2 | 3 | 10 | unit |  | 0
| - | Size : see existing .. x .. cm, single action
| - | Door leaf plywood in HPL finish + PVC edging
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
8 | Single Solid Door |  |  | DG.5 | 0 | 2 | 3 | 3 | 3 | 11 | unit |  | 0
| - | Size : see existing .. x .. cm, single action
| - | Door leaf plywood in HPL finish + PVC edging
| - | Door jamb & frame solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Lever handle ex. Dekson
9 | Single Solid Door Camouflage |  |  | D.4 | 0 | 0 | 0 | 0 | 2 | 2 | unit |  | 0
| - | Size : 87 x 290 cm, single action
| - | Door leaf plywood inside n HPL finish, outside in WPC finish PU
| - | Door jamb solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Flush pull handle (recessed) ex. Dekson
10 | Single Metal Door if any |  |  | D.6 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Fire rated door (2 hours)
| - | Size : 95 x 290 cm, single action
| - | Door leaf metal in Duco finish
| - | Door jamb metal in duco finish
| - | Lever handle
| - | Include door closer
11 | Window - 1 |  |  | WDS.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 145 x 145 cm, elevation : 75 cm
| - | 8mm clear tempered glass
| - | Frame solid wood duco finish + door seal all sides
| - | Include accessories
12 | Window - 2 |  |  | WDS.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : Ø100 cm, elevation : 75 cm
| - | Fix window, 8mm clear tempered glass
[9 empty] | Sub Total - II D |  |  |  | 0
E | Ceiling Work
1 | Ceiling gypsum |  |  | CL.1 | 118.9 | 267 | 291 | 320.5 | 428.5 | 1425.9 | m² |  | 0
| - | 9mm Gypsum board Ceiling, metal hollow 40/40 mm frame
| - | include reinforcement suspended frame to slab
| - | include drop and cove lighting
2 | Emulsion paint finished at CL.1 |  |  | EP.1 | 118.9 | 267 | 291 | 320.5 | 428.5 | 1425.9 | m² |  | 0
3 | Accent ceiling - 2 |  |  | CL.2 | 36 | 0 | 25 | 73 | 33 | 167 | m¹ |  | 0
| - | Rotan Panel Custom, size : see detail drawing, 15mm 2 side, H : floor to
4 | Accent ceiling - 3 |  |  | CL.3 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Ceiling in HPL finish
5 | Accent ceiling - 4 |  |  | CL.4 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | H: 100mm, thick: 40mm
| - | ceiling grid, plywood, fin HPL1
| - | include reinforcement suspended frame to slab
6 | Ceiling exposed - 1 |  |  | CL.EXP | 316 | 248 | 463.5 | 357 | 131 | 1515.5 | m² |  | 0
| - | Cleaning and repair concrete /slab, W/ plaster or skimcoat, include ME installation tidying up
| - | include fabric layer/refinish for cover ducting, fin EP
7 | Emulsion paint finished at CL.EXP |  |  | EP.1 | 316 | 248 | 463.5 | 357 | 131 | 1515.5 | m² |  | 0
8 | Cove Indirect Light |  |  | - | 36 | 0 | 25 | 73 | 33 | 167 | m¹ |  | 0
| - | In Emulsion Paint finish
9 | Cove Indirect Light - 11 |  |  | DC.11 | 0 | 0 | 0 | 0 | 0 | 0 | m¹ |  | 0
| - | In Emulsion Paint finish
| - | Include acrylic cover
10 | Box Screen Projector |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | plywood, metal hollow frame 4/4 & 2/4 cm ; finishing HPL.1
| - | include sling and reinforcement to the slab
[9 empty] | Sub Total - II E |  |  |  | 0
[9 empty] | T O T A L II |  |  |  | 0
0

## III.spec lamp Lounge (hidden)
Bill of Quantity - DESCRIPTION
PROYEK / PROJECT |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT
|  |  | #REF! | [5 empty] | Date issued : | 2024-05-13
LINGKUP / SCOPE of WORK |  |  | #REF! | [5 empty] | #REF! | #REF! | #REF!
No | ITEM of WORKS |  |  | Dwg Code |  |  |  |  | QUANTITY |  | UNIT PRICE (Rp) | TOTAL ( Rupiah )
( supply & install )
Note : All of works item below is simple explanation. Complete detail of size / dimension , material , finishing , volume , etc., must checked or according to detail drawing & specification schedule document.
III | SPECIAL LAMP
Electrical Work Lounge Area
1 | Hanging Lamp - 1 |  |  | HL.1 | 59 | 43 | 48 | 7 | 8 | unit |  | 0
| - | ex : Jazz LED 3,2W 320lm 3000K switchable
2 | Downlight 1. |  |  | DL1.W | 95 | 63 | 58 | 20 | 120 | unit |  | 0
| - | ex : Beryl LED O 10w 800lm 80˚ 3000K
3 | Downlight 2. |  |  | DL2.W | 95 | 63 | 58 | 20 | 84 | unit |  | 0
| - | ex : DownLED 700lm 7W 3000k 40˚ adj. Switchable
4 | Hidden Lamp SF.1 |  |  | SF1WD |  | 12 |  |  | 2 | unit |  | 0
| - | ex. VIP LED 3x44W 3x3430lm 3000K DALI OPAL
5 | Hidden Lamp LS.1 |  |  | LS1.WW |  | 12 |  |  | 40 | roll |  | 0
| - | ex. Troll/ PRC, flexiLED 12w/m 3000k CRI.90 1100lm
6 | Hidden Lamp |  |  | L2 |  | 12
| - | ex : Philips TL-T5 batten, 28 w, 1.2m, 3000k | [6 empty] | 23 | pcs |  | 0
| - | ex : Philips TL-T5 batten14 w, 0.6m, 3000k | [6 empty] | 4 | pcs |  | 0
7 | Pendant Lamp 1WD |  |  | PD1W |  | 12 |  |  | 4 | unit |  | 0
| - | ex : RA SIGMA II DI-IN RA4040739
8 | CDP |  |  | CDP |  |  |  |  | 2 | unit |  | 0
| - | Dimmer control, DALI rotary dimmer, active
[10 empty] | Sub TOTAL |  | 0
[10 empty] | T O T A L I I I |  | 0

## III.Fur
Bill of Quantity - DESCRIPTION
PROJECT |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-05-13
SCOPE of WORK |  |  | : FURNITURE - Custom & Product | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
III | CUSTOM & PRODUCT FURNITURE :
A | Custom Furniture
1 | Bench - 1 |  |  | BNC.1 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: rounded 650 x 50 x 45 cm
| - | Exposed concrete
| - | LED strip ex. Ascendo include driver
2 | Bench - 2 |  |  | BNC.2 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: rounded 700 x 50 x 40 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.4 & FB.1)
| - | Metal leg in Duco finish (DC.1) + rubber glide
3 | Bench - 3 |  |  | BNC.3 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: rounded 700 x 50 x 40 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.4 & FB.1)
| - | Metal leg in Duco finish (DC.1) + rubber glide
4 | Bench - 4 |  |  | BNC.4 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: oval 600 x 200 x 45 cm
| - | Exposed concrete
| - | LED strip ex. Ascendo include driver
5 | Bench - 5 |  |  | BNC.5 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: oval 600 x 200 x 45 cm
| - | Exposed concrete
| - | LED strip ex. Ascendo include driver
6 | Bench - 6 |  |  | BNC.6 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size: oval 550 x 250 x 40 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.4 & FB.1)
| - | Metal leg in Duco finish (DC.1) + rubber glide
7 | Bench - 7 |  |  | BNC.7 |  | 4 | 0 | 0 | 0 | 4 | unit |  | 0
| - | Size: oval 250 x 150 x 40 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.4 & FB.1)
| - | Metal leg in Duco finish (DC.1) + rubber glide
7 | Diorama - 2 |  |  | DIO.2 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : oval Ø150 x 300 x 250 cm
| - | Body : bronze panel + plywood in HPL finish (HPL.5)
| - | Frame : steel plate / aluminum binding finish DUCO
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
| - | LED SCREEN display / RACK display see detail
8 | Diorama - 3 |  |  | DIO.3 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : oval Ø150 x 250 x 250 cm
| - | Body : bronze panel + plywood in HPL finish (HPL.5)
| - | Frame : steel plate / aluminum binding finish DUCO
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
| - | LED SCREEN display / RACK display see detail
9 | Booth - 1 |  |  | BTH.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size: 200 x 150 x 120 cm
| - | Bench size : 150 x 50 x 120 cm (2 unit)
| - | Cushion plastic foam + rubber foam in fabric finish (FB.6)
| - | Backrest solid wood match HPL.1 in PU finish (WO.4)
| - | Leg solid wood match HPL.1 in PU finish (WO.4) + rubber glide
| - | Pillow 8 unit, size : 40 x 40 cm in fabric finish (FB.3 & FB.4)
| - | Table size 140 x 80 x 65 cm (1 unit)
| - | Top table MDF in HPL finish (HPL.5)
| - | Metal leg in Duco finish (DC.3)
10 | Cabinet - 1 |  |  | CB.1 | 0 | 0 | 5 | 9 | 0 | 14 | unit |  | 0
| - | Size : 160 x 40 x 85 cm
| - | Body plywood in HPL finish (HPL.3)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
11 | Cabinet - 3 |  |  | CB.3 | 0 | 0 | 0 | 0 | 5 | 5 | unit |  | 0
| - | Size overall : 320 x 40 x 80 cm
| - | Body cabinet : plywood in HPL finish (HPL.3)
| - | Base cabinet top : plywood in HPL finish (HPL.5)
| - | Innerside melaminto + AA track
| - | Backsplash : in Emulsion Paint finish
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
12 | Cabinet - 4 |  |  | CB.4 | 0 | 0 | 0 | 0 | 2 | 2 | unit |  | 0
| - | Size overall : 280 x 40 x 80 cm
| - | Body cabinet : plywood in HPL finish (HPL.3)
| - | Base cabinet top : plywood in HPL finish (HPL.5)
| - | Innerside melaminto + AA track
| - | Backsplash : in Emulsion Paint finish
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
13 | Cabinet - 5 |  |  | CB.5 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 100 x 50 x 290 cm
| - | Body plywood in HPL finish (HPL.1)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
14 | Credenza - 1 |  |  | CR.1 | 0 | 0 | 0 | 91 | 0 | 91 | unit |  | 0
| - | Size : 40 x 40 x 120 cm
| - | Body MDF in HPL finish (HPL.3)
| - | Counter top : MDF in HPL finish (HPL.3)
| - | Innerside melaminto + AA track
| - | Incl. Ironmongeries (soft closing) + finger pull
15 | Credenza - 2 |  |  | CR.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 92 x 50 x 100 cm
| - | Body MDF in HPL finish (HPL.6)
| - | Counter top : MDF in HPL finish (HPL.6)
| - | Innerside melaminto + AA track
| - | Incl. Ironmongeries (soft closing) + finger pull
16 | Credenza - 2A |  |  | CR.2A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 72 x 90 x 100 cm
| - | Body MDF in HPL finish (HPL.6)
| - | Counter top : MDF in HPL finish (HPL.6)
| - | Innerside melaminto + AA track
| - | Incl. Ironmongeries (soft closing) + finger pull
17 | Credenza - 3 |  |  | CR.3 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 100 x 50 x 100 cm
| - | Body MDF in HPL finish (HPL.6)
| - | Counter top : MDF in HPL finish (HPL.6)
| - | Innerside melaminto + AA track
| - | Incl. Ironmongeries (soft closing) + finger pull
18 | Coffee table - 1 |  |  | CT.1 | 5 | 0 | 4 | 0 | 6 | 15 | unit |  | 0
| - | Size : Ø80 x 45 cm
| - | Top table : Steel plate 5mm Duco Finish
| - | Leg : Steel pipe 1" in Duco finish (DC.3) + Steel plate 5mm Duco Finish
14 | Coffee Counter - 1 |  |  | CTC.1 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : see detail drawing 350 x 85 x 110 cm (rounded)
| - | Top table : Solid surface ex. IDKU (SOL.1)
| - | Body and table front : bronze panel + plywood in HPL finish (HPL.5)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
14 | Coffee Counter - 2 |  |  | CTC.2 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | Size : see detail drawing 800 x 85 x 110 cm (rounded)
| - | Top table : Solid surface ex. IDKU (SOL.1)
| - | Body and table front : bronze panel + plywood in HPL finish (HPL.5)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
14 | Coffee Counter - 3 |  |  | CTC.3 | 0 | 0 | 0 | 0 | 1 | 1 | unit |  | 0
| - | Size : see detail drawing 700 x 85 x 110 cm (rounded)
| - | Top table : Solid surface ex. IDKU (SOL.1)
| - | Body and table front : bronze panel + plywood in HPL finish (HPL.5)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
15 | Counter - 1 |  |  | CTR.1 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : see detail drawing 700 x 90 x 110 cm (rounded)
| - | Body and table front : bronze panel + plywood in HPL finish (HPL.5)
| - | Top table : plywood in HPL finish + edging (HPL.5)
| - | Include grommet/fliptop with mohair
| - | Include hidden light + acrylic cover
| - | LED strip ex. Ascendo include driver
16 | Counter - 2 |  |  | CTR.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 489 x 70 x 100 cm
| - | Body and table front : plywood in solid surface ex. IDKU (SOL.1)
| - | Top table : plywood in HPL finish (HPL.5) + edging
| - | Include grommet/fliptop with mohair
| - | Include hidden light + acrylic cover
| - | LED strip ex. Ascendo include driver
17 | Dining Table - 1 |  |  | DT.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 500 x 102 x 100 cm
| - | Body and table front : plywood in solid surface ex. IDKU (SOL.1)
| - | Table front : plywood in HPL finish (HPL.7) + list H= 48 cm
| - | Top table : plywood in HPL finish (HPL.5) + edging
| - | Include grommet/fliptop with mohair
| - | Include drawer ironmongeries (soft closing) + finger pull
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
| - | Include kitchen equipment : | - Waste bin (2 unit)
- Tray/Trolley (1 unit)
- Cultery Tray
18 | Dining Table - 2 |  |  | DT.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 120 x 120 x 74 cm
| - | Top table : plywood in HPL finish (HPL.2) + edging
| - | Leg solid wood in PU finish (WO.1) + rubber glide
19 | Display Table - 1 |  |  | DP.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 400 x 85,8 x 95 cm
| - | Top table : plywood in HPL finish + edging
| - | Leg plywood in HPL finish
| - | Cover in backpainted glass black (GLS.1)
20 | Glassboard - 1 |  |  | GB.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 160 x 120 cm
| - | Backing MDF + glass stone super white 5mm thk (MI.1)
| - | Include marker tray size 55 x 10 cm, MDF in Duco finish (DC.4)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
21 | Glassboard - 2 |  |  | GB.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 120 x 120 cm
| - | Backing MDF + glass stone super white 5mm thk (MI.1)
| - | Include marker tray size 55 x 10 cm, MDF in Duco finish (DC.4)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
22 | Locker - 1 |  |  | LC.1 | 0 | 0 | 26 | 44 | 22 | 92 | unit |  | 0
| - | Size : 50 x 50 x 260 cm
| - | Body MDF in HPL finish (HPL.4 & HPL.6)
| - | Incl. fix panel for cover column MDF in HPL finish (HPL.4 & HPL.6)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Locker number in cutting sticker
| - | Include numeric lock (manual system)
23 | Locker - 2 |  |  | LC.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 450 x 50 x 290 cm
| - | Body MDF in HPL finish (HPL.2 & HPL.4)
| - | Incl. adjuster panel to other locker MDF in HPL finish (HPL.4 & HPL.6)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Locker number in cutting sticker
| - | Include numeric lock (manual system)
24 | Locker - 3 |  |  | LC.3 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 200 x 50 x 290 cm
| - | Body MDF in HPL finish (HPL.2 & HPL.4)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Locker number in cutting sticker
| - | Include numeric lock (manual system)
25 | Locker - 4 |  |  | LC.4 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 300 x 50 x 210 cm
| - | Body plywood in HPL finish (HPL.1)
| - | Innerside melaminto + AA track
| - | Incl. reinforcement to wall + Ironmongeries (soft closing) + finger pull
| - | Locker number in cutting sticker
| - | Include numeric lock (manual system)
| - | Metal leg in Duco finish (DC.1)
26 | Logo BPDPKS - 1 |  |  | LG.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 90 x proportional
| - | MDF in Duco finish col. scheme BPDPKS
| - | Include metal structure in Duco finish black color
| - | Include reinforcement to wall
27 | Logo BPDPKS - 2 |  |  | LG.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 160 x 33,7 x 4 cm
| - | MDF in Duco finish col. scheme BPDPKS
| - | Include reinforcement to wall
28 | Meeting table - 1 |  |  | MT.1 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : 360 x 120 x 74 cm
| - | Top table : plywood in HPL finish (HPL.4) + edging
| - | Leg plywood in HPL finish (HPL.9)
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
29 | Meeting table - 2 |  |  | MT.2 | 1 | 0 | 3 | 4 | 0 | 8 | unit |  | 0
| - | Size : Ø90 x 74 cm
| - | Top table : plywood in HPL finish (HPL.3) + edging
| - | Leg metal in Duco finish + plate metal in Duco finish (DC.3)
30 | Meeting table - 3 |  |  | MT.3 | 0 | 1 | 0 | 1 | 0 | 2 | unit |  | 0
| - | Size : 240 x 120 x 74 cm
| - | Top table : plywood in HPL finish (HPL.4) + edging
| - | Leg plywood in HPL finish (HPL.9)
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
31 | Meeting table - 3A |  |  | MT.3A | 0 | 0 | 0 | 1 | 2 | 3 | unit |  | 0
| - | Size : 360 x 120 x 74 cm
| - | Top table : MDF in HPL finish (HPL.4) + edging
| - | Leg metal in Duco finish + plate metal in Duco finish (DC.1)
| - | Leg box MDF in HPL finish (HPL.4) + edging
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
32 | Meeting table - 4 |  |  | MT.4 | 0 | 0 | 10 | 0 | 0 | 10 | unit |  | 0
| - | Size : 600 x 120 x 74 cm
| - | Top table : plywood in HPL finish (HPL.4) + edging
| - | Leg plywood in HPL finish (HPL.9)
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
33 | Meeting table - 6 |  |  | MT.6 | 0 | 0 | 0 | 0 | 1 | 1 | unit |  | 0
| - | Size : 480 x 120 x 74 cm
| - | Top table : plywood in HPL finish (HPL.4) + edging
| - | Leg plywood in HPL finish (HPL.9)
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
34 | Puff - 1 |  |  | PF.1 | 5 | 0 | 3 | 0 | 3 | 11 | unit |  | 0
| - | Size : oval Ø100 x 50 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.7)
| - | Body plywood + castor
35 | Puff - 2 |  |  | PF.2 | 0 | 0 | 5 | 9 | 0 | 14 | unit |  | 0
| - | Size : 100 x 50 x 42 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.3)
| - | Body plywood in HPL finish
| - | Leg metal in Duco finish (DC.1) + rubber glide
36 | Puff - 4 |  |  | PF.4 | 0 | 0 | 0 | 0 | 5 | 5 | unit |  | 0
| - | Size : 180 x 60 x 42 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.3)
| - | Body plywood in HPL finish
| - | Leg metal in Duco finish (DC.1) + rubber glide
37 | Pantry - 1 |  |  | PTR.1 | 0 | 1 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size overall : 550 x 45 x 270 cm
| - | Base credenza size : 400 x 45 x 85 cm
| - | Top table plywood in Solid Surface finish ex. IDKU (SOL.1)
| - | Backsplash in Homogenous Tile finish
| - | Include shelfing MDF in HPL finish (HPL.5)+ reinforcement to wall
| - | Include hidden lamp LED strip
| - | Include kitchen sink ex. Acroz
| - | Include faucet ex. Kriz Ace Hardware
| - | Include kitchen equipment : | - Waste bin (2 unit)
- Pull out basket
- Cultery Tray
38 | Pantry - 2 |  |  | PTR.2 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | Size overall : 500 x 85 x 270 cm
| - | Base credenza size : 350 x 60 x 85 cm
| - | Top table plywood in Solid Surface finish ex. IDKU (SOL.1)
| - | Backsplash in Homogenous Tile finish
| - | Include shelfing MDF in HPL finish (HPL.5)+ reinforcement to wall
| - | Include hidden lamp LED strip
| - | Include kitchen sink ex. Acroz
| - | Include faucet ex. Kriz Ace Hardware
| - | Include kitchen equipment : | - Waste bin (2 unit)
- Pull out basket
- Cultery Tray
39 | Pantry - 3 |  |  | PTR.3 | 0 | 0 | 0 | 1 | 0 | 1 | unit |  | 0
| - | Size overall : 550 x 45 x 270 cm
| - | Base credenza size : 400 x 45 x 85 cm
| - | Top table plywood in Solid Surface finish ex. IDKU (SOL.1)
| - | Backsplash in Homogenous Tile finish
| - | Include shelfing MDF in HPL finish (HPL.5)+ reinforcement to wall
| - | Include hidden lamp LED strip
| - | Include kitchen sink ex. Acroz
| - | Include faucet ex. Kriz Ace Hardware
| - | Include kitchen equipment : | - Waste bin (2 unit)
- Pull out basket
- Cultery Tray
40 | Pantry - 4 |  |  | PTR.4 | 0 | 0 | 0 | 0 | 1 | 1 | unit |  | 0
| - | Size overall : 500 x 85 x 270 cm
| - | Base credenza size : 350 x 60 x 85 cm
| - | Top table plywood in Solid Surface finish ex. IDKU (SOL.1)
| - | Backsplash in Homogenous Tile finish
| - | Include shelfing MDF in HPL finish (HPL.5)+ reinforcement to wall
| - | Include hidden lamp LED strip
| - | Include kitchen sink ex. Acroz
| - | Include faucet ex. Kriz Ace Hardware
| - | Include kitchen equipment : | - Waste bin (2 unit)
- Pull out basket
- Cultery Tray
41 | Side table - 1 |  |  | ST.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : Ø100 x 70 cm
| - | Top table : plywood in HPL finish (HPL.8) + edging
| - | Leg pipe stainless steel hairline Ø2" (STH.1)
42 | Side table - 2 |  |  | ST.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 60 x 40 x 70 cm
| - | Top table : plywood in HPL finish (HPL.9) + edging
| - | Leg metal in Duco finish + plate metal in Duco finish (DC.1)
43 | Side table - 3 |  |  | ST.3 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : Ø60 x 70 cm
| - | Top table : plywood in HPL finish (HPL.5) + edging
| - | Leg metal in Duco finish + plate metal in Duco finish (DC.3)
44 | Stage - 1 |  |  | SG.1 | 0 | 1 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size 1000 x 700 x 30 cm
| - | Hollow structure with reinforcement to floor
| - | Tier seating plywood in vinyl finish (VN.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
45 | TV Box - 1 |  |  | TBX.1 | 0 | 0 | 0 | 0 | 3 | 3 | unit |  | 0
| - | Size 120 x 90 x 15 cm
| - | MDF in Duco finish (DC.5)
| - | Include reinforcement to wall
46 | Working Desk - 1 |  |  | WD.1 | 0 | 0 | 5 | 9 | 0 | 14 | unit |  | 0
| - | Size : 140 x 80 x 74 cm, size side cabinet : 140 x 50 x 60 cm
| - | Top table : MDF in HPL finish (HPL.3) + edging
| - | side credenza : MDF in HPL finish (HPL.4) + edging
| - | Leg metal in Duco finish (DC.2) + rubber glide
| - | Include grommet/fliptop with mohair
| - | Bench size : 76 x 76 x 74 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.6)
| - | Body and backrest backing plywood in fabric finish (FB.6)
| - | Leg metal in Duco finish (DC.1) + rubber glide
47 | Working Desk - 2 |  |  | WD.2 | 0 | 0 | 45 | 79 | 0 | 124 | unit |  | 0
| - | Size : 120 x 60 x 74 cm
| - | Top table : MDF in HPL finish (HPL.3) + edging
| - | Leg metal in Duco finish (DC.1) + rubber glide
| - | Include grommet/fliptop with mohair
| - | Include standart cable management
48 | Working Desk - 3 |  |  | WD.3 | 0 | 0 | 0 | 0 | 1 | 1 | unit |  | 0
| - | Size table 200 x 100 x 74 cm; size side cabinet : 130 x 50 x 60 cm
| - | Top table : MDF in HPL finish (HPL.3) + edging
| - | side credenza : MDF in HPL finish (HPL.4) + edging
| - | Leg metal in Duco finish (DC.2) + rubber glide
| - | Include grommet/fliptop with mohair
| - | Bench size : 76 x 76 x 74 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.6)
| - | Body and backrest backing plywood in fabric finish (FB.6)
| - | Leg metal in Duco finish (DC.1) + rubber glide
49 | Working Desk - 4 |  |  | WD.4 | 0 | 0 | 0 | 0 | 5 | 5 | unit |  | 0
| - | Size : 200 x 80 x 74 cm, size side cabinet : 200 x 50 x 60 cm
| - | Top table : MDF in HPL finish (HPL.3) + edging
| - | side credenza : MDF in HPL finish (HPL.4) + edging
| - | Leg metal in Duco finish (DC.2) + rubber glide
| - | Include grommet/fliptop with mohair
| - | Bench size : 76 x 76 x 74 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.6)
| - | Body and backrest backing plywood in fabric finish (FB.6)
| - | Leg metal in Duco finish (DC.1) + rubber glide
50 | Sofa Set - 1 |  |  | SF.1 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | Size : rounded 1800 x 70 x 42 cm, rised floor 10 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.3)
| - | Body front : bronze panel + plywood in HPL finish (HPL.5)
| - | Leg metal in Duco finish (DC.1) + rubber glide
51 | Sofa Set - 2 |  |  | SF.2 | 0 | 0 | 0 | 0 | 3 | 3 | unit |  | 0
| - | Size : rounded 1000 x 70 x 42 cm, rised floor 10 cm
| - | Cushion plastic foam + rubber foam in fabric finish (FB.3)
| - | Body front : bronze panel + plywood in HPL finish (HPL.5)
| - | Leg metal in Duco finish (DC.1) + rubber glide
[5 empty] | Sub Total - IV A | [7 empty] | 0
B | Furniture Product
1 | Cabinet - 1 |  |  | CB.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 195 x 61 x 183
| - | ex. Krisbow
2 | Cabinet - 1A |  |  | CB.1A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 86 x 35 x 175 cm
| - | ex. Tactix
3 | Dining Chair - 1 |  |  | DCH.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. Kartini Furniture
4 | Bar Stool - 1 |  |  | STL.1 | 5 | 0 | 6 | 0 | 6 | 17 | unit |  | 0
| - | ex. Informa; Brison
5 | Bar Stool - 2 |  |  | STL.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. Kartini Furniture
| - | Change fabric ex. Tiffani (FB.2)
6 | Sofa - 1A |  |  | SF.1A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. IKEA; Vedbo
7 | Sofa - 1B |  |  | SF.1B | 0 | 0 | 0 | 0 | 3 | 3 | unit |  | 0
| - | ex. IKEA; Vedbo high back
8 | Sofa - 1C |  |  | SF.1C | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. IKEA; Vedbo
9 | Movable TV stand |  |  | TVM.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit | By Other
| - | ex. Product
[5 empty] | Sub Total - IV B | [7 empty] | 0
[5 empty] | T O T A L IV | [7 empty] | 0
0

## IV.Sys
Bill of Quantity - DESCRIPTION
PROJECT |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-02-21
SCOPE of WORK |  |  | : FURNITURE - Custom & Product | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
III | CUSTOM & PRODUCT FURNITURE :
A | Workstation
ex. Rifyo
1 | Folding Table - 1 |  |  | FT.1 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 160 x 80 cm
2 | Folding Table - 2 |  |  | FT.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 160 x 80 cm
3 | Workstation WSA - 10 |  |  | WSA.10 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
4 | Workstation WSA - 8 |  |  | WSA.8 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
5 | Workstation WSA - 6 |  |  | WSA.6 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
[5 empty] | Sub Total - IV A | [7 empty] | 0
B | Task Chair
1 | Task Chair - 1 Meeting Room, Quite Room |  |  | CH.1 | 18 | 4 | 27 | 9 | 51 | 109 | unit |  | 0
| - | ex.Office Art (Sesuai Spesifikasi)
2 | Task Chair - 2 |  |  | CH.2 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. Office Art
3 | Task Chair - 4 Kadiv |  |  | CH.4 | 0 | 0 | 5 | 9 | 0 | 14 | unit |  | 0
| - | ex. Office Art
4 | Task Chair - 5 Staff |  |  | CH.5 | 0 | 0 | 45 | 79 | 0 | 124 | unit |  | 0
| - | ex. Office Art
5 | Task Chair - 6 Direktur Utama |  |  | CH.6 | 0 | 0 | 0 | 0 | 1 | 1 | unit |  | 0
| - | ex. Rifyo
6 | Task Chair - 7 Auditorium |  |  | CH.7 | 0 | 170 | 10 | 0 | 0 | 180 | unit |  | 0
| - | ex. Office Art
7 | Task Chair - 8 Direktur |  |  | CH.8 | 0 | 0 | 0 | 0 | 5 | 5 | unit |  | 0
| - | ex. Rifyo
8 | Task Chair - 9 |  |  | CH.9 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | ex. IKEA; Teodores (Black, Blue, Green)
[5 empty] | Sub Total - IV B | [7 empty] | 0
[5 empty] | T O T A L IV | [7 empty] | 0
0

## V.Accs
Bill of Quantity - DESCRIPTION
PROJECT : |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-05-13
SCOPE of WORK : |  |  | : Accessories | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
IV | ACCESORIES & ARTWORK :
A | ACCESSORIES
1 | Pendant Lamp - 1 , hanging, Coffee Counter |  |  | PD.1 / HL.1 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø800 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
2 | Pendant Lamp - 2 , hanging, greater / reception |  |  | PD.2 / HL.2 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø700 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
3 | Pendant Lamp - 3 , hanging, side entrance |  |  | PD.3 / HL.3 | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø700 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
4 | Pendant Lamp - 4, hanging, lounge |  |  | PD.4 / HL.4 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø800 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
5 | Pendant Lamp - 5, hanging, lounge |  |  | PD.5 / HL.5 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø1200 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
6 | Pendant Lamp - 6, hanging, lounge |  |  | PD.6 / HL.6 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø1000 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
7 | Pendant Lamp - 7 , hanging, Coffee Counter |  |  | PD.7 / HL.7 | 0 | 0 | 1 | 0 | 0 | 1 | unit |  | 0
| - | size : Ø1000 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | Double line LED strip ex. Ascendo include driver
8 | Pendant Lamp - 8 , hanging, Working Space |  |  | PD.8 / HL.8 | 0 | 0 |  | 1 | 0 | 1 | unit |  | 0
| - | size : Ø2250 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
9 | Pendant Lamp - 9 , hanging, Working Space |  |  | PD.9 / HL.9 | 0 | 0 |  | 1 | 0 | 1 | unit |  | 0
| - | size : Ø1450 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
10 | Pendant Lamp - 10 , hanging, Working Space |  |  | PD.10 / HL.10 | 0 | 0 |  | 1 | 0 | 1 | unit |  | 0
| - | size : Ø1000 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
11 | Pendant Lamp - 11 , hanging, Working Space |  |  | PD.11 / HL.11 | 0 | 0 |  | 1 | 0 | 1 | unit |  | 0
| - | size : Ø700 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
12 | Pendant Lamp - 12 , hanging, Working Space |  |  | PD.12 / HL.12 | 0 | 0 |  | 1 | 0 | 1 | unit |  | 0
| - | size : Ø700 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
13 | Pendant Lamp - 13 , hanging, Working Space |  |  | PD.13 / HL.13 | 0 | 0 |  | 0 | 1 | 1 | unit |  | 0
| - | size : Ø900 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
14 | Pendant Lamp - 14 , hanging, Working Space |  |  | PD.14 / HL.14 | 0 | 0 |  | 0 | 1 | 1 | unit |  | 0
| - | size : Ø900 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
15 | Pendant Lamp - 15 , hanging, Working Space |  |  | PD.15 / HL.15 | 0 | 0 |  | 0 | 1 | 1 | unit |  | 0
| - | size : Ø500 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
16 | Pendant Lamp - 16 , hanging, Working Space |  |  | PD.16 / HL.16 | 0 | 0 |  | 0 | 1 | 1 | unit |  | 0
| - | size : Ø1000 cm, 5 x 5 cm
| - | Galvanis fin. duco + Acrylic cover
| - | 2 sides Double line LED strip ex. Ascendo include driver
| - | Hanging cover rotan panel custom
17 | Tree - 1 |  |  | TREE1 | 4 | 8 | 8 | 4 | 9 | 33 | unit |  | 0
| - | H= 280 cm
18 | Tree - 2 |  |  | TREE2 | 2 | 0 | 0 | 0 | 0 | 2 | unit |  | 0
| - | H= 200 cm
19 | Planters Box - 1 |  |  | PB.1 | 4 | 8 | 8 | 4 | 9 | 33 | unit |  | 0
| - | Size : oval 100 x 60 x 120 cm
| - | Teraso Custom
| - | Include reinforcement to floor
20 | Planters Box - 2 |  |  | PB.2 | 2 | 0 | 0 | 0 | 0 | 2 | unit |  | 0
| - | Size : oval 100 x 60 x 70 cm
| - | Teraso Custom
| - | Include reinforcement to floor
[5 empty] | Sub Total - IV A | [7 empty] | 0
[5 empty] | T O T A L IV | [7 empty] | 0
| Spesifikasi Plant dan Planter Box | [11 empty] | 0
| - | Tipe bisa 3 dibawah dengan tinggi 2,5 s/d 3 m
| - | uk Planter box 60 custom

## VI.Toilet
Bill of Quantity - DESCRIPTION
PROJECT : |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-05-13
SCOPE of WORK |  |  | : TOILET | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
II | I N T E R I O R :
A | Floor Works
1 | Chipping existing floor finish + screed |  |  | - | 27.75 | 39.4 | 49.5 | 57.7 | 44.69 | 219.04 | m² |  | 0
| - | Include demolish existing ceramic tile
| - | Toilet area and Wudhu Area (see layout planning)
2 | Screeding 3 cm thk |  |  | - | 27.75 | 39.4 | 49.5 | 57.7 | 44.69 | 219.04 | m² |  | 0
| - | Cement mix
| - | Toilet area and Wudhu Area (see layout planning)
3 | Marmer Slab - 3 |  |  | MR.3 | 27.75 | 39.4 | 49.5 | 57.7 | 44.69 | 219.04 | m² |  | 0
| - | Marmer Chiampo Blue, size Slab
| - | Toilet area and Wudhu Area (see layout planning)
4 | Waterproofing |  |  | WF.1 | 27.75 | 39.4 | 49.5 | 57.7 | 44.69 | 219.04 | m² |  | 0
| - | Waterproofing coating ex. Sika
| - | Toilet area and Wudhu Area (see layout planning)
[9 empty] | Sub Total - II A |  |  |  | 0
B | Wall Partition Work
1 | Hebel Wall |  |  | W1 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Hebel wall + plaster, H: floor to ceiling
2 | Hebel Wall |  |  | W1A | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | Hebel wall + plaster, H: above door to ceiling
3 | Marmer Slab - 3 |  |  | MR.3 | 52.26 | 152.62 | 169.78 | 173.68 | 151.58 | 699.92 | m²
| - | Marmer Chiampo Blue, size Slab, H. floor to ceiling
| - | ex.
[9 empty] | Sub Total - II B |  |  |  | 0
C | Wall-Partition Treatment & Panelling
1 | Panel - 3 |  |  | PA.3 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | H= 330 cm
| - | Panel MDF in WPC finish PU
2 | Emulsion Paint Combination - 4 |  |  | EPC.4 | 0 | 0 | 0 | 0 | 0 | 0 | m² |  | 0
| - | ex. Dulux (EP.1)
| - | Homogenous Tile (HT.1)
[9 empty] | Sub Total - II C |  |  |  | 0
D | Door Work
1 | Cubical Toilet |  |  | - | 0 | 5 | 5 | 7 | 5 | 22 | unit |  | 0
| - | Cubical H=200 cm
| - | Plywood in HPL finish
| - | Include metal leg and accessories
2 | Cubical Door |  |  | - | 0 | 5 | 8 | 7 | 5 | 25 | unit |  | 0
| - | Plywood in HPL finish
| - | Accessories ex. Dekson
[9 empty] | Sub Total - II D |  |  |  | 0
E | Ceiling Work
1 | Ceiling gypsum |  |  | CL.1 | 7.2 | 39.4 | 49.5 | 57.7 | 44.69 | 198.49 | m² |  | 0
| - | 9mm Gypsum board Ceiling, metal hollow 40/40 mm frame
| - | include reinforcement suspended frame to slab
| - | include drop and cove lighting
2 | Emulsion paint finished |  |  | EP.1 | 7.2 | 39.4 | 49.5 | 57.7 | 44.69 | 198.49 | m² |  | 0
[9 empty] | Sub Total - II E |  |  |  | 0
F | Accessories Works
1 | Mirror Size 155 x 100 cm |  |  | - | 0 | 5 | 6 | 5 | 8 | 24 | unit |  | 0
| - | Size : 160 x 120 cm
| - | Backing MDF + mirror 5mm thk (MIR.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
2 | Mirror Size Ø60 cm |  |  | - | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | Size : 160 x 120 cm
| - | Backing MDF + mirror 5mm thk (MIR.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
3 | Lavatory table |  |  | - | 1 | 3 | 3 | 2 | 3 | 12 | unit |  | 0
| - | Size : see detail drawing
| - | Frame hollow and plywood in Marmer / Granite finish
[9 empty] | Sub Total - II E |  |  |  | 0
F | Sanitary Works
1 | Closet |  |  | - | 2 | 6 | 9 | 8 | 8 | 33 | unit |  | 0
| - | ex. Toto; CW420J/SW420JP
| - | Include installation
2 | Eco Washer |  |  | - | 2 | 6 | 9 | 8 | 8 | 33 | unit |  | 0
| - | ex. Toto; TCW07S
| - | Include installation
3 | Single Lever Bath and Shower |  |  | - | 0 | 0 | 4 | 3 | 5 | 12 | unit |  | 0
| - | ex. Toto; TX432SJN
| - | Include installation
4 | Lavatory |  |  | - | 1 | 0 | 0 | 0 | 0 | 1 | unit |  | 0
| - | ex. Toto; LW587J, under counter
| - | Include installation
5 | Lavatory |  |  | - | 0 | 3 | 6 | 5 | 7 | 21 | unit |  | 0
| - | ex. Toto; LW592J, under counter, square
| - | Include installation
5 | Lavatory |  |  | - | 0 | 3 | 0 | 0 | 0 | 3 | unit |  | 0
| - | ex. Toto; LW248JT1
| - | Include installation
6 | Lavatory Faucet |  |  | - | 1 | 6 | 6 | 5 | 7 | 25 | unit |  | 0
| - | ex. Toto: TX115LRR
| - | Include installation
7 | Wudhu Faucet |  |  | - | 3 | 0 | 0 | 8 | 2 | 13 | unit |  | 0
| - | ex. Toto: TX133L
| - | Include installation
7 | Urinoir |  |  | - | 0 | 2 | 3 | 3 | 2 | 10 | unit |  | 0
| - | ex. Toto; U57M
| - | Include installation
8 | Paper holder |  |  | - | 2 | 6 | 6 | 5 | 8 | 27 | unit |  | 0
| - | ex. Umbra
| - | Include installation
9 | Floor drain |  |  | - | 5 | 12 | 14 | 18 | 10 | 59 | unit |  | 0
| - | ex.Toto; TX1DBV1
| - | Include installation
| - | Include wudhu area
[9 empty] | Sub Total - II E |  |  |  | 0
[9 empty] | T O T A L II |  |  |  | 0
0

## Other Works
Bill of Quantity - DESCRIPTION
PROJECT : |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT |  |  | Date issued : | 2024-05-13
SCOPE of WORK |  | : Pekerjaan Lain lain |  |  | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  | Drawing CODE | Qty | Unit | Unit Price (IDR) | TOTAL (IDR)
( supply & install )
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
II | PEKERJAAN LAIN-LAIN
1 | Pekerjaan struktur tambah beam coring tangga (3 lantai) |  | - | 1 | ls |  | 0
2 | Pekerjaan struktur tambah beam balkon auditorium dan railing balkon (lantai 2) |  | - | 1 | ls |  | 0
3 | Pekerjaan tangga dengan baja (3 lantai), termasuk struktur tangga, trap tangga, railing tangga, cover tangga |  | - | 1 | ls |  | 0
(lihat gambar detail)
4 | Pekerjaan tambahan ruangan meeting di teras lantai 3 |  | - | 1 | ls |  | 0
5 | Pekerjaan landscape (hardscape dan softscape di teras lantai 3 |  | - | 1 | ls |  | 0
6 | Pekerjaan landscape (hardscape dan softscape di teras lantai 3A |  | - | 1 | ls |  | 0
7 | Pekerjaan penambahan kamar mandi Ruang Direktur Utama (termasuk pekerjaan MEP) |  | - | 1 | ls |  | 0
0
0

## Alternative
Bill of Quantity - DESCRIPTION
PROJECT : |  |  | : DESIGN INTERIOR FIT-OUT BPDP KELAPA SAWIT | [7 empty] | Date issued : | 2024-05-13
SCOPE of WORK |  |  | : ALTERNATIVE ITEM | [7 empty] | Revision : | 00 - | 2024-05-13
No. | ITEM of WORKS |  |  | Drawing CODE | Quantity | [5 empty] | Unit | Unit Price (IDR) | TOTAL (IDR)
| ( supply & install ) |  |  |  | GF | 1st | 2nd | 3rd | 3A | Total
Note : All of works item below is simple & concise explanation/description. Complete detail of size / dimension, material, finishing, volume, etc., must checked or according to detail drawing & specification schedule/table document.
II | I N T E R I O R :
C | Wall-Partition Treatment & Panelling
Alternative WPC change to Wallpaper ex. Toli
1 | Panel - 3 |  |  | PA.3 & | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | H= 290-340 cm |  | PA.3A
| - | Panel MDF in wallpaper finish ex. Toli
2 | Panel - 4 |  |  | PA.4 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size overall : 500 x 58 x 330 cm
| - | Panel MDF in Wallpaper finish ex. Toli
| - | Include credenza size : 351 x 58 x 90 cm
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
3 | Panel - 8 |  |  | PA.8 | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size 590,5 x 74 x 290 cm
| - | Backdrop panel MDF in Wallpaper finish ex. Toli
| - | Include box signage fin Duco cover Acrylic (DU.1)
| - | Include hidden light
| - | LED strip ex. Ascendo include driver
D | Door Work
1 | Single Solid Door |  |  | D.4A | 0 | 0 | 0 | 0 | 0 | 0 | unit |  | 0
| - | Size : 95 x 290 cm, single action
| - | Door leaf plywood inside n HPL finish, outside in Wallpaper fin. ex. Toli
| - | Door jamb solid wood duco finish + door seal all sides
| - | Ironmongeries : hinges, lockset, door stopper, ex. Dekson
| - | Flush pull handle (recessed) ex. Dekson